Department of Defense (DoD)

Information Assurance Certification and Accreditation Process (DIACAP)

Physical and Environmental Artifact

VERSION 1.0.0

FOR

<SYSTEM NAME>

<INSERT CLIENT LOGO>

DISTRIBUTION IS LIMITED TO U.S. GOVERNMENT AGENCIES AND THEIR CONTRACTORS.

OTHER REQUESTS FOR THIS DOCUMENT MUST BE REFERRED TO: <CLIENT NAME>

Template developed by: I-Assure, LLC. http://www.i-assure.com.

This page intentionally blank

change log

This record shall be maintained throughout the life of the document. Each published update shall be recorded. Revisions are a complete re-issue of entire document. A revision shall be made whenever the cumulative changes reaches ten percent (10%) of this document’s content.

| CHANGE / REVISION RECORD |
| --- |
| Date | Page/Paragraph | Description of Change | Made By: |

tABLE OF CONTENTS

1.	overview	2

2.	Environmental controls	2

2.1	Emergency Lighting (PEEL-1, PEEL-2)	2

2.2	Humidity Controls (PEHC-1, PEHC-2)	2

2.3	Temperature Controls (PETC-1, PETC-2)	3

2.4	Environmental Control Training (PETN-1)	3

3.	Fire safety	3

3.1	Fire Detection (PEFD-1, PEFD-2)	3

3.2	Fire Inspection (PEFI-1)	4

3.3	Fire Suppression System (PEFS-1, PEFS-2)	4

4.	Power controls	4

4.1	Master Power Switch (PEMS-1)	4

4.2	Voltage Regulators (PEVR-1)	5

5.	Data access	5

5.1	Screen Lock (PESL-1)	5

5.2	Clearing and Sanitizing (PECS-1, PECS-2)	6

5.3	Data Interception (PEDI-1)	6

6.	physical access	6

6.1	Access to Computing Facilities (PECF-1, PECF-2)	6

6.2	Physical Protection of Facilities (PEPF-1, PEPF-2)	6

6.3	Physical Security Testing (PEPS-1)	7

executive summary

The following table lists the DoDI 8500.2 IA Controls that are satisfied through this artifact.

| IA Control Number | IA Control Name |
| --- | --- |
| PEDI-1 | Data Interception |
| PEEL-1 | Emergency Lighting |
| PEFD-1, PEFD-2 | Fire Detection |
| PEFS-1, PEFS-2 | Fire Suppression |
| PEHC-1, PEHC-2 | Humidity Controls |
| PEMS-1 | Master Power Switch |
| PEPS-1 | Physical Security Testing |
| PESL-1 | Screen Lock |
| PESP-1 | Workplace Security Procedures |
| PESS-1 | Storage |
| PETC-1, PETC-2 | Temperature Controls |
| PETN-1 | Environmental Control Training |
| PEVC-1 | Visitor Control to Computing Facilities |
| PEVR-1 | Voltage Regulators |
| PEFI-1 | Fire Inspection |
| PECF-1, PECF-2 | Access to Computing Facilities |
| PEPF-1, PEPF-2 | Physical Protection of Facilities |
| PECS-1, PECS-2 | Clearing and Sanitizing |

# overview

<INSERT SYSTEM OVERVIEW>

The Physical and Environmental Artifact describes the <SYSTEM NAME>controls associated with environmental and personnel threats.  This involves identifying environmental, physical, and personnel safeguards that mitigate the associated risks to the <SYSTEM NAME>Information System (IS) and explaining how these controls collectively satisfy the protection objectives of the DoD IA Controls.

# Environmental controls

## Emergency Lighting (PEEL-1, PEEL-2)

Automatic emergency lighting is installed in areas containing MAC III equipment that covers all areas necessary to maintain mission or business essential functions, to include emergency exits and evacuation routes.

| Location | Emergency Lighting (Y/N) |
| --- | --- |
| Front and rear building exits | Yes |
| Work areas path to exits | Yes |

## Humidity Controls (PEHC-1, PEHC-2)

Humidity controls have been implemented to protect against humidity fluctuations in all areas containing MAC III equipment.

| Location | Humidity Controls (Y/N) |
| --- | --- |
| <CLIENT NAME> server room | Yes |

## Temperature Controls (PETC-1, PETC-2)

Temperature controls have been implemented to protect against temperature fluctuations in all areas containing MAC III equipment.

| Location | Temperature Controls (Y/N) |
| --- | --- |
| <CLIENT NAME> Server Room | Yes |

## Environmental Control Training (PETN-1)

<CLIENT NAME> employees receive environmental control training when hired, and annually as follows:

| Trainer | Training Date |
| --- | --- |

# Fire safety

## Fire Detection (PEFD-1, PEFD-2)

Capabilities have been installed to allow the servicing fire department to receive an automatic notification of any activation of the smoke detection or fire suppression system.

| Location | Detection Method | Fire Detection (Y/N) |
| --- | --- | --- |
| Server Room | Temperature/Smoke | Yes |

## Fire Inspection (PEFI-1)

Fire safety inspections are scheduled to occur at least annually by a Fire Marshall. The following deficiencies have been recorded and corrected or are scheduled to be corrected as notated below. If no deficiencies were found the “Deficiency” column is recorded as “None.”

| Inspection Date | Deficiency | Correction Date |
| --- | --- | --- |

## Fire Suppression System (PEFS-1, PEFS-2)

Automatic fire suppression systems have been installed to protect the following locations:

| Location | Rating | Type | Detection Method |
| --- | --- | --- | --- |
| Server Room |  | Water Sprinkler | Temperature |

# Power controls

## Master Power Switch (PEMS-1)

A master power switch or emergency power switch has been installed in the following locations:

| Location | Marking | Type | Protection Method |
| --- | --- | --- | --- |
| None | None | None | None |

## Voltage Regulators (PEVR-1)

Voltage regulators have been installed to protect against voltage spikes and fluctuations in the following areas:

| Location | Equipment Protected | Type | Rating |
| --- | --- | --- | --- |
| Server Room | <NAME> | <NAME> | 880 Joules 0.3% IEEE surge let-through zero clamping response time meets UL 1449 |
| Server Room | <NAME> | <NAME> | 320 Joules 0.3% IEEE surge let-through zero clamping response time meets UL 1449 |
| Server Room | <NAME> | <NAME> | 6500A peak IEEE 587B and ANSI C62.41 |

# Data access

## Screen Lock (PESL-1)

All terminals have been configured to log off automatically id left unattended for over 15 minutes, except for those supporting functions that require an extended time to complete, listed below:

| Location | Terminal Identifier | Function Supported | Screen Lock Time |
| --- | --- | --- | --- |
| Server Room | <NAME> | System Administration | 10 minutes |

## Clearing and Sanitizing (PECS-1, PECS-2)

Procedures have been implemented to clear and sanitize documents, equipment and machine readable media containing sensitive data before release outside of the DoD.

| Media | Data Sensitivity | Method |
| --- | --- | --- |
| Hard drives | Sensitive | Microsoft sdelete |

## Data Interception (PEDI-1)

| Location | Terminal Identifier | Function Supported | Visible Area Control |
| --- | --- | --- | --- |
| Server Room | <NAME> | System Administration | <CLIENT NAME> Employees Escorted Visitors |
| Office Ares | <NAME> | Application Support | <CLIENT NAME> Employees Escorted Visitors |

# physical access

## Access to Computing Facilities (PECF-1, PECF-2)

SECRET clearance required for <CLIENT NAME> employee access to <CLIENT NAME> server room. Uncleared/non-<CLIENT NAME> personnel must be escorted by cleared <CLIENT NAME> employee.

## Physical Protection of Facilities (PEPF-1, PEPF-2)

| Location | Security Mechanism | Access Granted To | Record |
| --- | --- | --- | --- |
| Server Room | Simplex Lock | Cleared <CLIENT NAME> Employees | Server Room Log |
| <CLIENT NAME> Offices-working hours | Receptionist Challenge | Escorted non-<CLIENT NAME> personnel | Sign In/Sign Out Sheet |
| <CLIENT NAME> Offices-non-working hours | Proximity Card Key/Magnetic Lock | <CLIENT NAME> Employees | Proxmity Card Log |

## Physical Security Testing (PEPS-1)

<DESCRIBE>